## Slide 1: Anterior Paddle Distractor: Project Overview
Victor Nunez, Greg Nelson
Tek Park, 10 Feb 2016

## Slide 2: User Needs
Must be made of a standard medical grade materials.
Must be cleanable and sterilizable.
Must apply a distraction force that is parallel to the axis of the spine at the site of surgery.
Must withstand a compression force of at least 1000N distributed across the instrument paddles.
Must have a ratchet system to maintain the applied distraction force without constant input from the surgeon.
Must have interchangeable / adjustable paddles that align with standard anterior device sizes.
Must have a “quick connect” system to attach paddles to the instrument.
Must have an impaction handle that can be easily (i.e. using one hand) removed.
Must have a narrow profile to maximize visualization of the surgical site during use.
Must have a spring that closes / resets the paddles upon release of the isntrument handles.

## Slide 3: Medical Device Development Process

## Slide 4: Design Constraints / Considerations
Material Considerations
  Biocompatibility
  Corrosion Resistance
  Mechanical Integrity
Forces in the Spine
  Fracture loads of the vertebral bodies
  Loads needed to distract the spine
  Mechanical force exerted by human hand
Ease of Use
  Ergonomics
  Surgeon preference
  Visualization (SO vs. Mini Access vs. MIS)
Manufacturing Considerations
  Machine Limitations
  Dimensioning & Tolerancing
  Materials
Cost Considerations
  Manufacturing Methods
  Complexity
  Materials
System Interaction
  Implant sizes
  Surgical Technique
  Set Definition

## Slide 5: Material Considerations

## Slide 6: Forces in the Spine

## Slide 7: Forces in the Spine, Cont’d

## Slide 8
New instrument with several functions:
Parallel distraction
Ease of Use

## Slide 9
Distraction forceps with angled handle
Ease of Use, Cont’d

## Slide 10: Manufacturing Considerations

## Slide 11: Cost Considerations

## Slide 12: Set Interaction
Wide Range of Sizes
Notes: Match the best size activL implant according to the X-Ray Template.
activL offers the smallest height currently on the market Height range: 8.5 mm, 10 mm,12 mm, 14 mm
Clinical Study: In 9 out of 11 cases, the inlay for 8.5 mm height was chosen.
Warning:
■ In order to make sure that a proper fixation and alignment of the activL® artificial disc can be achieved, patients with endplate
dimensions smaller than 31 mm in medial-lateral and/or 26 mm in anterior-posterior directions are not appropriate candidates for activL surgery due to limitations in available
sizes.